## Sheet1
Item | Supplier | Link | Price | Number | Notes | Total | 1140.966
Linear stage | makerstore.cc | https://makerstore.cc/product/c-beam-500-actuator-kit/ | 116.28 | 1
Limit switches | makerstore.cc | https://makerstore.cc/product/micro-limit-switch-kit-with-mounting-plate/ | 4.45 | 2
Stepper motor | stepperonline.com | https://www.omc-stepperonline.com/nema-23-unipolar-1-8deg-1-35nm-191-2oz-in-1a-8-6v-57x57x76mm-6-wires-23hs30-1006s?sort=rating&order=DESC | 25.49 | 2 | One for rotation, one for linear motion
Motor driver | stepperonline.com | https://www.omc-stepperonline.com/digital-stepper-driver-1-0-4-2a-20-50vdc-for-nema-17-23-24-stepper-motor-dm542t | 24.85 | 2
Motor driver power supply | stepperonline.com | https://www.omc-stepperonline.com/350w-36v-9-7a-115-230v-switching-power-supply-stepper-motor-cnc-router-kits-s-350-36 | 26.89 | 1
Motor bracket | stepperonline.com | https://www.omc-stepperonline.com/nema-23-bracket-for-stepper-motor-and-geared-stepper-motor-alloy-steel-bracket-st-m2 | 1.84 | 1
Flexible motor cable | stepperoneline.com | https://www.omc-stepperonline.com/awg-20-high-flexible-four-core-stepper-motor-cable-cm-20 | 3.23 | 1 | sold by the meter
Drag chain | digikey.com | https://www.digikey.com/en/products/detail/sparkfun-electronics/ROB-13207/5814168 | 11.95 | 1
Shaft hub for motor | digikey.com | https://www.digikey.com/en/products/detail/pololu-corporation/1993/10449882 | 9.95 | 1 | Uses 4-40 screws, Alternate at https://www.pololu.com/product/1083
Acrylic disc | McMaster.com | https://www.mcmaster.com/8581K37/ | 12.5 | 1 | For top plate
Screws for disc | McMaster.com | https://www.mcmaster.com/92220A122/ | 7 | 1 | 10 pack, low-profile to allow for shallower holes in plate.
Power cord | McMaster.com | https://www.mcmaster.com/70355K109/ | 11.62 | 2
Terminal lugs | Mcmaster.com | https://www.mcmaster.com/7113K49/ | 13.04 | 1 | 50 pack
Red Pitaya | digikey.com | https://www.digikey.com/en/products/detail/red-pitaya-d-d/IZD0007/6579245 | 381.89 | 1 | We have them already, so this is for other folks
SMA-BNC adapter | digikey.com | https://www.digikey.com/en/products/detail/cinch-connectivity-solutions/29-3855/698065 | 5.86 | 1 | Again, we have them
SMA 50 ohm terminators | digikey.com | https://www.digikey.com/en/products/detail/molex/0733910680/3878259 | 6.97 | 4 | This plus a T is a better deal than feed-through, which are $50+ right now
SMA T adapter | digikey.com | https://www.digikey.com/en/products/detail/rf-solutions/ADP-SMAM-2SMAF/5845795 | 5.33 | 4
Cooling fan | digikey.com | https://www.digikey.com/en/products/detail/adafruit-industries-llc/3368/6680553 | 3.5 | 1
Misc wire | digikey.com | https://www.digikey.com/en/products/detail/adafruit-industries-llc/3111/6198256 | 19.95 | 0 | Probably not needed for most people
2x13 header | digikey.com | https://www.digikey.com/en/products/detail/sullins-connector-solutions/SFH11-PBPC-D13-ST-BK/1990091 | 1.39 | 2
3 pin header | digikey.com | https://www.digikey.com/en/products/detail/molex/0022041031/403316 | 0.97 | 1
4 pin header | digikey.com | https://www.digikey.com/en/products/detail/molex/0022041041/403317 | 1.02 | 2
6 pin header | digikey.com | https://www.digikey.com/en/products/detail/molex/0022041061/403319 | 1.46 | 2
3 pin housing | digikey.com | https://www.digikey.com/en/products/detail/molex/0511910300/2405366 | 0.28 | 1
4 pin housing | digikey.com | https://www.digikey.com/en/products/detail/molex/0511910400/2405358 | 0.28 | 2
6 pin housing | digikey.com | https://www.digikey.com/en/products/detail/molex/0511910600/3262573 | 0.4 | 2
Socket contacts | digikey.com | https://www.digikey.com/en/products/detail/molex/0508028000/2404940 | 0.068 | 17 | Should probably buy spares of these
Crimping tool | digikey.com | https://www.digikey.com/en/products/detail/molex/0638281800/7400391 | 413.4 | 0 | Official tool
Crimping tool | Amazon.com | https://www.amazon.com/gp/product/B00OMM4YUY/ | 24.29 | 0 | Budget alternative
Resistors | digikey.com | https://www.digikey.com/en/products/detail/stackpole-electronics-inc/CF14JT2K20/1741321 | 0.1 | 2
Transistors | digikey.com | https://www.digikey.com/en/products/detail/onsemi/2N3904TAR/975250 | 0.38 | 4
PCB | oshpark.com | tbd | 28.65 | 1 | minimum order of 3
Detector | digikey.com | https://www.digikey.com/en/products/detail/onsemi/MICROFC-SMTPA-60035-GEVB/9744762 | 100 | 2 | 36mm^2 SIMP sensor breakout board
Detector | digikey.com | https://www.digikey.com/en/products/detail/onsemi/MICROFC-SMA-60035-GEVB/9744738 | 330 | 0 | Similar, but with SMA connectors
Scintillator | ebay.com | https://www.ebay.com/itm/253211792569 | 32 | 2 | 1.6"X2.25" plastic scintillator
Optical coupling grease
SiPM power supply | stepperonline.com | https://www.omc-stepperonline.com/lrs-150-24-mean-well-150w-24vdc-6-5a-115-230vac-enclosed-switching-power-supply-lrs-150-24 | 14.47 | 1 | goes up to 28.8V which should do the trick
Hall effect sensor | digikey.com | https://www.digikey.com/en/products/detail/texas-instruments/DRV5011ADLPGM/11625397 | 0.49 | 1 | replaces photodetector
Magnet | McMaster.com | https://www.mcmaster.com/5862K138/ | 0.32 | 1 | Attaches to rotating plate
Superglue | McMaster.com | https://www.mcmaster.com/74765A63/ | 7.62 | 0 | included for completeness
Tee nuts | makerstore.cc | https://makerstore.cc/product/drop-in-tee-nuts-pack-of-10/ | 9.5 | 1 | Cheaper off of Amazon, search for "m5 2020 tnut"
M5 screws | McMaster.com | https://www.mcmaster.com/94500A297/ | 10.17 | 1 | Pack of 100
M5 nuts | McMaster.com | https://www.mcmaster.com/90591A260/ | 3.56 | 1 | Pack of 100
Aluminum Rail | McMaster.com | https://www.mcmaster.com/8975K613/ | 20.63 | 1 | 6" long, will want to cut to size.